Site:		 Allotment Society

Location:	Street West

Date:		Sunday 24th November 2013

Overview:

The site was inspected at the request of the committee to ascertain safety issues and to produce a risk assessment / report to aid in the safe running of the site after a request from SMBC parks and recreations dept.

Please note that this does not remove the responsibility of the SMBC for their requirements to produce a risk assessment as the landlord and land lease holder. The committee for Whitehill is not managing a fully leased ‘self-managed’ site and therefore the SMBC retain liability in various proportions for the site and its general safety condition.

The weather was cold and overcast and damp.

This report does not address individual plot holders and plots. This is a task the committee should undertake as per the recommendations at the end of each section. No liability can be accepted for any item, situation or event either omitted, not recorded or subsequent to the visit in relation to Health and safety- this report is generated without prejudice and as a guide to the present committee

The Map included in this report is indicative of the route walked and the areas of note:

External approach to site

Walking down the perimeter to the site along xxx St  there are overhanging tree branches and some vegetation encroaching onto the public path. This should be addressed and removed back the fence line. Care and attention should be given the removal of nuisance branches.

Recommendation:

Cut back and assess branches and vegetation to remove nuisance and potential for injury along boundary from top of xxxx street area (see below for heights of nuisances)

Entrance

The entrance gates are in good condition and are maintained to this point by the SMBC, labelled as checked and in date, the barbed wire is starting to hang down on one of these gates.

There is debris and nuisance litter to the inside on the left and right hand side that should be removed. Including some broken glass, wood containing nails & sharp objects

Recommendation:

Barbed wire is not generally considered an issue if it should be maintained out of ordinary reach of any individual or does not cause a nuisance. General guidance is that nuisance for highways authority is deemed as articles and items below 2.4 metres.

There is debris and nuisance litter to the inside on the left and right hand side that should be removed. The area cleaned and cleared and notices posted stating it is not a litter / rubbish collection area

Poultry plot area

No access was obtainable in the actual poultry plots however the perimeter fence line to the front is in good condition and there are no obvious issues. Checks on barbed wire application to the aforementioned height would be prudent.

There is a drop to the side of the path from the poultry access to the allotment gardens adjacent that has been partially addressed. However there is a lack of evidence that the pathway is insufficiently wide enough for persons not to walk safely along the length and that there is also a lack of historical issues with accidents in regard to this being a hazard.

Previous SMBC suggestions have been to install a handrail – this would be at the SMBC expense if put forward as a recommendation as the landlord the issue of safe access and egress would fall into this jurisdiction.

Site Access Road

The access roadway is of good solid construction with little in the way of potholes or undulations. The surface is firm and offers no visible trip hazards. He grass was cut to the centre and in good order

Care should be taken to review the accumulation of waste, holes and overgrown grass/ plants immediately to the sides of this area around the whole site. This to avoid personal injury when walking around the area as these would be classed as access to all.

Part of the roadway nearest the units to the rear of the site has a bend that is being eroded away and the turning of vehicles may become problematic as well as dangerous to anyone in the vicinity if this is not addressed and this area reinforced/ reinstated. Signified by a red circle adjacent plot 68 on the map on page 1

Numerous vermin control points noted. Some in good condition. Did not check receipts of visits or notice any information on baits type used on general notice boards

Recommendation:

The roadway should be inspected by the committee for suitability and any potential remedial actions to prevent further loss of access.

Vermin control – check contract for visits and store receipts of visits securely, post safety information on noticeboards (vermin controller have this if requested) on the types of bait used in case of accidental ingestion

Community Area

The classroom requires some cleaning – but only basics. There is running water (turned off at time of visit) soap and handtowels all required for school visits. The decking appears in good condition and the anti-slip chicken wire covering will require regular inspection to remove trip hazards if it ‘lifts’

The paths are clear and marked out – one or two minor trip hazards on small holes that need attention noted.

Emergency lifebuoys in pace although somewhat overgrown in front.

Gates appeared in good order and closed adequately

Recommendation:

Check walkways and fill in minor undulations / holes

Strum areas in front of emergency lifebuoys

Manure Heap

Walled and fenced from community area – at time of visit migration onto road was minimal reducing slipping of both pedestrian and vehicles. Some litter to the side of this area

Recommendation:

Ensure the roadway is kept clean and clear to prevent slip, trips and vehicle skid

Remove litter and debris

Members Toilet

In good order and clean – water turned off for winter. However plentiful supply of soap, towels and water from outside butts to replenish cistern to flush.

Members hut

In clean good order. Sink area tidy, no food debris to attract vermin.

Fire protection requires review

Recommendation:

Replace fire extinguisher with smaller version in date - suggest a sealed unit with extended lifespan such as those for caravans

Or replace with fire blanket.

Plots

This report does not identify or single out any individual plot for attention due to the political implications. Nor does it address the buildings on plots – this again so as not to detract from the work the committee undertake in this area due to the sensitive nature of the subject. However a general walk round the site has identified the following in relation to the ‘right hand’ path or dividing plot path considered ‘general Access’ for the intents and purposes of movement around site and along the side of all plots themselves. This does not include pathways internal to the tenanted plot made by the tenant themselves.

There were examples of paths that are uneven, have holes or are not wide enough to offer safe access and egress around the perimeter.

Planting of thorny or spine containing plants / hedgerow material adjacent pathways impeding access and egress safely, encroaching onto pathways.

Fruit trees with branches overhanging pathways

Incomplete and damaged pathways that offer very real potential to damage persons attempting to use them

Retention of sharp or dangerous materials adjacent paths – glass. Piled up paving stones, general wood debris etc.

Some pathways have trenches for drainage running alongside them, this is not an issue where it is clear and does not affect the access – however some have grass obscuring these areas and loose materials for walking surfaces.

Recommendation:

The committee need to walk every pathway and not the condition and enforce requirements to make these safe for all persons walking on them (including the tenant themselves) as a matter of priority.